## Slide 1: Dental Radiography Systems
BMED434 – Medical Imaging
Awab Abdallah
22700366
Date: 2/6/2025

## Slide 2: Introduction
Importance of dental radiography
Types of systems: Intraoral, Extraoral
working principles
device structure
calibration, and safety
Application

## Slide 3: What Is Dental Radiography?
Imaging technique.. teeth, jaw, and oral structures
diagnosis of decay, infection, bone loss, and more

## Slide 5: Working principle

## Slide 6: System Components Tube Head Extension Arm Control Panel Image Receptor: Film, digital sensor Embedded Systems

## Slide 8: Calibration Methods
Mechanical Calibration: Beam alignment, movement check
Electrical Calibration: kVp, mA, exposure time, dose
Digital Sensor

## Slide 10: Electrical circuit

## Slide 11: Standards & Regulations
Dental X-ray systems must follow
IEC 60601 ensures the equipment is safe.
IAEA and WHO give guidelines for radiation protection.
Each country , handles licensing and inspections.

## Slide 12: Applications
Routine dental exams
Orthodontic planning
surgical guidance
Endodontic (root canal) evaluation

## Slide 13: Conclusion
Understanding system components and regulations ensures optimal performance , Continuous training and calibration are essential

## Slide 14: References:
Parts of a Dental X-ray Machine | Medikabazaar
https://www.youtube.com/watch?v=YJnVRzq44Hk&ab_channel=Care4Life

## Slide 15: Thank you
Any Question ?